****

भारतीय लघु उद्योग विकास बैंक

**Small Industries Development Bank of India**

**Corrigendum - II**

**Tender No.: 314/2016/1113/HO1/ITV/ SIDBI/ITV/165, dated September 02, 2015**

|  |  |
| --- | --- |
| **Existing provisions in Tender** | **Modification** |
| **Annexure III – Technical Specifications of 20 KVA UPS** |
| C. Output | Not mentioned | Output Power Factor >= 0.80 |
| E. Other Requirement | Isolation Transformer - Yes | Isolation Transformer – Yes (Built-in at Input side) |
| **Annexure IV – Format – Commercial Bid** |
| Buy back cost of two old UPS (30 & 10 KVA Numeric Brand) (including old batteries) | Buy back cost of 2 nos. of old UPS * One no. of 30 KVA UPS (Numeric make) with 25 nos. of batteries of 12 Volts & 100 AH
* One no. of 10 KVA UPS (Numeric make) with 20 nos. of batteries of 12 Volts & 42 AH
 |
| **Annexure V FORMAT - Technical Bid** |
| C. Output | Not mentioned | Output Power Factor |
| **Annexure II – General Terms & Conditions** |
| **11. MSME Category:** The Vendor in the their proposals are required to indicate their MSME status as per the following definition:

|  |  |  |
| --- | --- | --- |
| **EnterpriseCategory** | **Manufacturing (Original Investment in P&M)** | **Services (Original Investment in Equipment)** |
| Micro | Up to Rs.25 lakh | Up to Rs.10 lakh |
| Small | Upto Rs.500 lakh | Upto Rs.200 lakh |
| Medium | Upto Rs.1000 lakh | Upto Rs.500 lakh |

 |  **11. MSE Category:** The Vendor in the their proposals are required to indicate their MSE status as per the following definition:

|  |  |  |
| --- | --- | --- |
| **EnterpriseCategory** | **Manufacturing (Original Investment in P&M)** | **Services (Original Investment in Equipment)** |
| Micro | Up to Rs.25 lakh | Up to Rs.10 lakh |
| Small | Upto Rs.500 lakh | Upto Rs.200 lakh |

All the intending Agencies/Vendors are also requested to note following important provisions-1. SIDBI is governed by Public Procurement Policy for Micro and Small Enterprises (MSEs) as circulated by The Ministry of MSME, GoI.2. These provisions shall be applicable to Micro and Small Enterprises (MSEs) registered with District Industries Centers or Khadi and Village Industries Commission or Khadi and Village Industries Board or Coir Board or National Small Industries Corporation or Directorate of Handicrafts and Handloom or any other body specified by Ministry of Micro, Small and Medium Enterprises (MSMEs).3. If deemed fit, the Bank may procure minimum of 20% of the contract value of any goods or services from MSEs. Further, the Bank reserves the right to procure part work/services ( about 4% out of above 20%) to MSEs owned by SC and ST entrepreneurs, if found suitable. Provided, these MSEs quoting price within the price band of L1 +15% & bringing down their price to L1 price, in a situation where L1 price is from someone other than a MSEs. In case of more than one such MSEs, the supply shall be shared proportionately at the discretion of the Bank.4. Further, such MSEs would also be entitled for tender sets free of cost and exemption from payment of earnest money deposit. In case of any issue on the subject matter, the MSE’s may approach the tender inviting authority to resolve their grievances.5. Agencies desirous of availing preference under above provisions should submit a copy of proof of Registration as MSEs/ and ownership of the same by SC/ST along with the tender/RFP. |
| **Annexure VI – Pre-Qualification Bid** |
| **3 Company Details - MSME Status:*** Company **does not qualify** the status of MSME.
* Company **does qualify** the MSME status. <***please attach MSME registration certificate or a certificate from Chartered Accountant***>.
 | **3 Company Details -** 1. **MSE Status:**
* Company **does not qualify** the status of MSE.
* Company **does qualify** the MSE status. <***please attach MSE***

 ***registration certificate*** |
| **Category -** Not mentioned | **ii) Category –** Mention the category whether General/ SC/ ST/ OBC |

**All other terms and conditions remain unchanged.**

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*