Small Industries Development Bank of India
101, Hermitage Office Complex [Next to HACA Bhavan],

Hill Fort Road, Saifabad, Hyderabad 500 004

Tender Document

(Price Bid - to be submitted in Envelope II)

Name of Work- Supply, Installation, Testing and Commissioning of 35 KVA DG set for SIDBI Officers’ Quarters, Near HCL Tower, 1 – 10 – 68/A, Chikoti Gardens, Begumpet, Hyderabad 500 016

Name of the Tenderer ............................................

| SL.NO | DESCRIPTION | UNIT | QTY | UNIT RATE IN ` | TOTAL AMOUNT IN ` |
| --- | --- | --- | --- | --- | --- |
| I | OUT DOOR ACOUSTIC ENCLOSED CANOPY TYPE DG SET 35 KVA CONSISTING OF FOLLOWING | Set | 1 |  |  |
| 1 | Supply, receive, store, unpack at site, install, testing and commissioning of 35 KVA prime rated diesel generating set coupled to 60 KVA Alternator with Electronic Governor, 3 ph, 50 Hz, 415V, along with Radiator type of cooling and associated equipment complete set including necessary appropriate armoured cabling as specified in the technical specification. |  |  |  |  |
| 1.1 | Built in AMF control panel with battery charger including suitable isolator |  |  |  |  |
| 1.2 | AVM pads 'S' Type Kushi foot mounting with accessories |  |  |  |  |
| 1.3 | Residential Quality Silencer (Includes flexible coupling ) with cladding as per specification. |  |  |  |  |
| 1.4 | Fuel Tank. |  |  |  |  |
| 1.5 | Supply and Installation of Batteries with stand with initial charging. |  |  |  |  |
| 1.6 | Cable adopter box as per site requirement. |  |  |  |  |
| 1.7 | CABLING AND EARTHING:- Power and control cabling, connection to existing panels. Complete earthing system with earth pit and earthing strip connections. |  |  |  |  |
| 1.8 | Diesel pump motor with starter control and discharge piping arrangement for pumping diesel from barrels to built in day tanks. |  |  |  |  |
| 2 | EXHAUST SYSTEM | Set | 1 |  |  |
| 2.1 | Exhaust pipes arrangements as required to suit conditions and statutory requirements, if any. |  |  |  |  |
| 3 | STATUTORY & CEA APPROVALS | Lump sum | 1 |  |  |
| 3.1 | Liasioning, preparation of working drawings and obtaining approval and receiving the safety certificate for energisation. clearance from Electricity Authority, Municipality , Pollution Control Board etc. as applicable for installation and running DG set |  |  |  |  |
| 3.2 | Preparation of As built drawings after commissioning. |  |  |  |  |
| 4 | AMC cost after initial warranty period of 2 years. The warranty & AMC will be comprehensive and all cost of repairs / replacement of parts, accessories, etc. will be borne by the successful tenderer. The AMC payments will be released six monthly after successful completion of the period. The cost of replacement of oil, lube, etc. will be payable by SIDBI at standard rates during Warranty & AMC period. |  |  |  |  |
|  | - For 1st year | Lump sum | 1 |  |  |
|  | 2. For 2nd year | Lump sum | 1 |  |  |
|  | 3.For 3rd year | Lump sum | 1 |  |  |
| 5 | Less Buyback for existing DG set with the accessories. |  |  |  |  |
| TOTAL ( Sr 1 + Sr 2 +Sr 3 + Sr 4 –Sr. 5) |  |  |  |  |  |

Total quoted Amount in Words :-     ________________________________________________________________

Note – The successful tenderer will be decided on the basis of the total amount quoted including AMC & Buyback.

Signature                        :

Name of the Tenderer    :

Date / place                     :

Seal                                 :

*******************